**VV Trial Off Checklist**

**Before Trial Off:**

* Chest X-ray, verify ETT placement
* Increase ventilator settings
* Baseline gas
* Move all lines to patient

**During Trial Off:**

* Continue standard anticoagulation to patient
* Continue heater
* Turn OFF sweep gas flow and clamp green gas tubing
* Obtain ACT per standard protocol
* Obtain blood gas every 30-60 min
* Follow saturations and CO2
* Keep off for minimum of 1 hour, may keep off for hours

**After Trial Off:**

* Return to ECLS support
* Alert surgeon
* Order blood
* Order decannulation medications